## Overview
Preliminary assessment of site solar irradiance
Project | London
Geographical coordinates | 51.501993°, -0.119476° (51°30'07", -000°07'10")
Report generated | 18 Jul 2026
Generated by | Global Solar Atlas
Map link | https://globalsolaratlas.info/map?s=51.501993,-0.119476,10

## Site_info
Project | London
Location | unnamed road, London, SE1 7PB, United Kingdom
Geographical coordinates | 51.501993°, -0.119476° (51°30'07", -000°07'10")
Time zone | UTC+01, Europe/London [BST]
Elevation | 9 m

## Map_data
Map data
Specific photovoltaic power output | PVOUT_specific | 1025.5 | kWh/kWp
Direct normal irradiation | DNI | 883.8 | kWh/m²
Global horizontal irradiation | GHI | 1032.7 | kWh/m²
Diffuse horizontal irradiation | DIF | 575.9 | kWh/m²
Global tilted irradiation at optimum angle | GTI_opta | 1209.5 | kWh/m²
Air temperature | TEMP | 10.9 | °C
Optimum tilt of PV modules | OPTA | 36 | °
Terrain elevation | ELE | 9 | m

## Monthly_averages
Monthly averages
DNI
kWh/m²
Jan | 38
Feb | 48.8
Mar | 73.4
Apr | 99
May | 109.7
Jun | 111
Jul | 110.9
Aug | 97.6
Sep | 78.5
Oct | 60.1
Nov | 43.3
Dec | 33.1
Yearly | 903.5

## Hourly_profiles
Average hourly profiles
Direct normal irradiation [Wh/m²]
| Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
0 - 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1 - 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 - 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 - 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 - 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 - 6 | 0 | 0 | 0 | 0 | 6 | 48 | 21 | 0 | 0 | 0 | 0 | 0
6 - 7 | 0 | 0 | 0 | 2 | 130 | 157 | 136 | 44 | 0 | 0 | 0 | 0
7 - 8 | 0 | 0 | 2 | 167 | 223 | 223 | 215 | 185 | 97 | 0 | 0 | 0
8 - 9 | 0 | 1 | 142 | 270 | 275 | 272 | 266 | 249 | 218 | 129 | 0 | 0
9 - 10 | 38 | 144 | 223 | 316 | 311 | 309 | 295 | 288 | 268 | 214 | 128 | 18
10 - 11 | 147 | 209 | 251 | 325 | 314 | 315 | 308 | 292 | 281 | 242 | 197 | 143
11 - 12 | 189 | 236 | 265 | 326 | 305 | 307 | 307 | 278 | 280 | 251 | 232 | 185
12 - 13 | 213 | 253 | 286 | 329 | 309 | 309 | 308 | 286 | 275 | 265 | 237 | 208
13 - 14 | 210 | 244 | 291 | 322 | 299 | 293 | 295 | 285 | 260 | 225 | 221 | 196
14 - 15 | 188 | 211 | 253 | 301 | 280 | 284 | 282 | 268 | 246 | 207 | 192 | 167
15 - 16 | 151 | 193 | 226 | 277 | 270 | 282 | 268 | 256 | 229 | 196 | 157 | 127
16 - 17 | 89 | 175 | 215 | 254 | 259 | 265 | 257 | 245 | 221 | 168 | 78 | 25
17 - 18 | 0 | 79 | 171 | 220 | 229 | 236 | 232 | 217 | 186 | 43 | 0 | 0
18 - 19 | 0 | 0 | 42 | 161 | 190 | 199 | 198 | 179 | 57 | 0 | 0 | 0
19 - 20 | 0 | 0 | 0 | 31 | 121 | 148 | 149 | 76 | 0 | 0 | 0 | 0
20 - 21 | 0 | 0 | 0 | 0 | 16 | 52 | 43 | 0 | 0 | 0 | 0 | 0
21 - 22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22 - 23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23 - 24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Sum | 1225 | 1745 | 2367 | 3301 | 3537 | 3699 | 3580 | 3148 | 2618 | 1940 | 1442 | 1069

## Glossary
Acronyms and glossary
Acronym | Full name | Unit | Type of use
DIF | Diffuse horizontal irradiation | kWh/m², MJ/m² | Average yearly, monthly or daily sum of diffuse horizontal irradiation (© 2025 Solargis)
DNI | Direct normal irradiation | kWh/m², MJ/m² | Average yearly, monthly or daily sum of direct normal irradiation (© 2025 Solargis)
ELE | Terrain elevation | m, ft | Elevation of terrain surface above/below sea level, processed and integrated from SRTM-3 data and related data products (SRTM v4.1 © 2004 - 2025, CGIAR-CSI)
GHI | Global horizontal irradiation | kWh/m², MJ/m² | Average annual, monthly or daily sum of global horizontal irradiation (© 2025 Solargis)
GTI | Global tilted irradiation | kWh/m², MJ/m² | Average annual, monthly or daily sum of global tilted irradiation (© 2025 Solargis)
GTI opta | Global tilted irradiation at optimum angle | kWh/m², MJ/m² | Average annual, monthly or daily sum of global tilted irradiation for PV modules fix-mounted at optimum angle (© 2025 Solargis)
OPTA | Optimum tilt of PV modules | ° | Optimum tilt of fix-mounted PV modules facing towards Equator set for maximizing GTI input (© 2025 Solargis)
PVOUT_specific | Specific photovoltaic power output | kWh/kWp | Yearly and monthly average values of photovoltaic electricity (AC) delivered by a PV system and normalized to 1 kWp of installed capacity (© 2025 Solargis)
PVOUT_total | Total photovoltaic power output | kWh, MWh, GWh | Yearly and monthly average values of photovoltaic electricity (AC) delivered by the total installed capacity of a PV system (© 2025 Solargis)
TEMP | Air temperature | °C, °F | Average yearly, monthly and daily air temperature at 2 m above ground. Calculated from outputs of ERA5 model (© 2025 ECMWF, post-processed by Solargis)