## Overview
Preliminary assessment of site solar irradiance
Project | Lucknow
Geographical coordinates | 26.857530°, 80.912659° (26°51'27", 080°54'46")
Report generated | 18 Jul 2026
Generated by | Global Solar Atlas
Map link | https://globalsolaratlas.info/map?s=26.857530,80.912659,10

## Site_info
Project | Lucknow
Location | unnamed road, Yahiyaganj, Lucknow - 226001, Uttar Pradesh, India
Geographical coordinates | 26.857530°, 80.912659° (26°51'27", 080°54'46")
Time zone | UTC+05:30, Asia/Kolkata [IST]
Elevation | 127 m

## Map_data
Map data
Specific photovoltaic power output | PVOUT_specific | 1457.1 | kWh/kWp
Direct normal irradiation | DNI | 1145.5 | kWh/m²
Global horizontal irradiation | GHI | 1725.6 | kWh/m²
Diffuse horizontal irradiation | DIF | 925.9 | kWh/m²
Global tilted irradiation at optimum angle | GTI_opta | 1851.5 | kWh/m²
Air temperature | TEMP | 24.9 | °C
Optimum tilt of PV modules | OPTA | 24 | °
Terrain elevation | ELE | 127 | m

## Monthly_averages
Monthly averages
DNI
kWh/m²
Jan | 70.3
Feb | 107.6
Mar | 155.4
Apr | 146.7
May | 120.6
Jun | 83.9
Jul | 62.3
Aug | 66.8
Sep | 80
Oct | 102
Nov | 82.7
Dec | 76.3
Yearly | 1154.6

## Hourly_profiles
Average hourly profiles
Direct normal irradiation [Wh/m²]
| Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
0 - 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1 - 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 - 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 - 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 - 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 - 6 | 0 | 0 | 0 | 0 | 1 | 4 | 0 | 0 | 0 | 0 | 0 | 0
6 - 7 | 0 | 0 | 12 | 53 | 59 | 52 | 36 | 33 | 20 | 17 | 1 | 0
7 - 8 | 17 | 73 | 198 | 240 | 172 | 122 | 84 | 97 | 137 | 159 | 84 | 39
8 - 9 | 125 | 268 | 382 | 386 | 291 | 205 | 144 | 168 | 237 | 283 | 220 | 165
9 - 10 | 198 | 385 | 504 | 495 | 393 | 275 | 197 | 218 | 311 | 387 | 318 | 265
10 - 11 | 266 | 471 | 590 | 567 | 459 | 326 | 234 | 263 | 345 | 444 | 391 | 332
11 - 12 | 314 | 517 | 634 | 600 | 486 | 350 | 252 | 279 | 350 | 459 | 420 | 375
12 - 13 | 346 | 529 | 638 | 600 | 487 | 350 | 243 | 279 | 334 | 447 | 416 | 388
13 - 14 | 351 | 508 | 623 | 571 | 466 | 329 | 234 | 256 | 312 | 411 | 380 | 361
14 - 15 | 308 | 456 | 560 | 516 | 417 | 290 | 202 | 214 | 253 | 333 | 298 | 296
15 - 16 | 237 | 364 | 460 | 429 | 335 | 233 | 164 | 166 | 205 | 241 | 195 | 204
16 - 17 | 102 | 237 | 331 | 305 | 227 | 163 | 127 | 121 | 141 | 107 | 35 | 36
17 - 18 | 1 | 34 | 81 | 127 | 94 | 88 | 82 | 58 | 24 | 2 | 0 | 0
18 - 19 | 0 | 0 | 0 | 0 | 2 | 10 | 11 | 2 | 0 | 0 | 0 | 0
19 - 20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20 - 21 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21 - 22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22 - 23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23 - 24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Sum | 2265 | 3842 | 5013 | 4889 | 3889 | 2797 | 2010 | 2154 | 2669 | 3290 | 2758 | 2461

## Glossary
Acronyms and glossary
Acronym | Full name | Unit | Type of use
DIF | Diffuse horizontal irradiation | kWh/m², MJ/m² | Average yearly, monthly or daily sum of diffuse horizontal irradiation (© 2025 Solargis)
DNI | Direct normal irradiation | kWh/m², MJ/m² | Average yearly, monthly or daily sum of direct normal irradiation (© 2025 Solargis)
ELE | Terrain elevation | m, ft | Elevation of terrain surface above/below sea level, processed and integrated from SRTM-3 data and related data products (SRTM v4.1 © 2004 - 2025, CGIAR-CSI)
GHI | Global horizontal irradiation | kWh/m², MJ/m² | Average annual, monthly or daily sum of global horizontal irradiation (© 2025 Solargis)
GTI | Global tilted irradiation | kWh/m², MJ/m² | Average annual, monthly or daily sum of global tilted irradiation (© 2025 Solargis)
GTI opta | Global tilted irradiation at optimum angle | kWh/m², MJ/m² | Average annual, monthly or daily sum of global tilted irradiation for PV modules fix-mounted at optimum angle (© 2025 Solargis)
OPTA | Optimum tilt of PV modules | ° | Optimum tilt of fix-mounted PV modules facing towards Equator set for maximizing GTI input (© 2025 Solargis)
PVOUT_specific | Specific photovoltaic power output | kWh/kWp | Yearly and monthly average values of photovoltaic electricity (AC) delivered by a PV system and normalized to 1 kWp of installed capacity (© 2025 Solargis)
PVOUT_total | Total photovoltaic power output | kWh, MWh, GWh | Yearly and monthly average values of photovoltaic electricity (AC) delivered by the total installed capacity of a PV system (© 2025 Solargis)
TEMP | Air temperature | °C, °F | Average yearly, monthly and daily air temperature at 2 m above ground. Calculated from outputs of ERA5 model (© 2025 ECMWF, post-processed by Solargis)