## Overview
Preliminary assessment of site solar irradiance
Project | Phoenix
Geographical coordinates | 33.543171°, -112.073593° (33°32'35", -112°04'25")
Report generated | 18 Jul 2026
Generated by | Global Solar Atlas
Map link | https://globalsolaratlas.info/map?s=33.543171,-112.073593,10

## Site_info
Project | Phoenix
Location | Murphy Bridle Path, Phoenix, AZ 85020, United States of America
Geographical coordinates | 33.543171°, -112.073593° (33°32'35", -112°04'25")
Time zone | UTC-07, America/Phoenix [MST]
Elevation | 369 m

## Map_data
Map data
Specific photovoltaic power output | PVOUT_specific | 1893.4 | kWh/kWp
Direct normal irradiation | DNI | 2719.8 | kWh/m²
Global horizontal irradiation | GHI | 2119.4 | kWh/m²
Diffuse horizontal irradiation | DIF | 478.4 | kWh/m²
Global tilted irradiation at optimum angle | GTI_opta | 2440.5 | kWh/m²
Air temperature | TEMP | 23.1 | °C
Optimum tilt of PV modules | OPTA | 32 | °
Terrain elevation | ELE | 369 | m

## Monthly_averages
Monthly averages
DNI
kWh/m²
Jan | 179.4
Feb | 182.9
Mar | 233
Apr | 262.3
May | 296
Jun | 300
Jul | 226.7
Aug | 220.1
Sep | 225.3
Oct | 226.2
Nov | 188.5
Dec | 169.7
Yearly | 2710.2

## Hourly_profiles
Average hourly profiles
Direct normal irradiation [Wh/m²]
| Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
0 - 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1 - 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 - 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 - 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 - 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 - 6 | 0 | 0 | 0 | 0 | 44 | 117 | 10 | 0 | 0 | 0 | 0 | 0
6 - 7 | 0 | 0 | 14 | 240 | 471 | 506 | 264 | 179 | 130 | 12 | 0 | 0
7 - 8 | 35 | 151 | 424 | 603 | 662 | 675 | 416 | 400 | 475 | 461 | 207 | 56
8 - 9 | 436 | 539 | 641 | 743 | 766 | 767 | 518 | 512 | 616 | 668 | 584 | 462
9 - 10 | 617 | 674 | 739 | 821 | 834 | 832 | 604 | 607 | 696 | 751 | 703 | 623
10 - 11 | 692 | 739 | 789 | 860 | 871 | 877 | 673 | 673 | 763 | 805 | 758 | 681
11 - 12 | 719 | 758 | 804 | 870 | 881 | 897 | 714 | 718 | 796 | 825 | 773 | 704
12 - 13 | 725 | 755 | 793 | 869 | 879 | 897 | 751 | 751 | 810 | 821 | 769 | 702
13 - 14 | 709 | 734 | 774 | 841 | 869 | 889 | 760 | 765 | 796 | 796 | 747 | 675
14 - 15 | 667 | 696 | 735 | 795 | 846 | 862 | 730 | 728 | 751 | 752 | 689 | 628
15 - 16 | 595 | 635 | 679 | 727 | 788 | 808 | 648 | 656 | 678 | 676 | 601 | 549
16 - 17 | 469 | 537 | 593 | 653 | 700 | 734 | 537 | 541 | 576 | 548 | 421 | 375
17 - 18 | 124 | 315 | 454 | 527 | 587 | 631 | 410 | 395 | 396 | 182 | 33 | 20
18 - 19 | 0 | 0 | 76 | 193 | 346 | 445 | 248 | 174 | 25 | 0 | 0 | 0
19 - 20 | 0 | 0 | 0 | 0 | 4 | 63 | 30 | 0 | 0 | 0 | 0 | 0
20 - 21 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21 - 22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22 - 23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23 - 24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Sum | 5788 | 6533 | 7515 | 8742 | 9548 | 10000 | 7313 | 7099 | 7508 | 7297 | 6285 | 5475

## Glossary
Acronyms and glossary
Acronym | Full name | Unit | Type of use
DIF | Diffuse horizontal irradiation | kWh/m², MJ/m² | Average yearly, monthly or daily sum of diffuse horizontal irradiation (© 2025 Solargis)
DNI | Direct normal irradiation | kWh/m², MJ/m² | Average yearly, monthly or daily sum of direct normal irradiation (© 2025 Solargis)
ELE | Terrain elevation | m, ft | Elevation of terrain surface above/below sea level, processed and integrated from SRTM-3 data and related data products (SRTM v4.1 © 2004 - 2025, CGIAR-CSI)
GHI | Global horizontal irradiation | kWh/m², MJ/m² | Average annual, monthly or daily sum of global horizontal irradiation (© 2025 Solargis)
GTI | Global tilted irradiation | kWh/m², MJ/m² | Average annual, monthly or daily sum of global tilted irradiation (© 2025 Solargis)
GTI opta | Global tilted irradiation at optimum angle | kWh/m², MJ/m² | Average annual, monthly or daily sum of global tilted irradiation for PV modules fix-mounted at optimum angle (© 2025 Solargis)
OPTA | Optimum tilt of PV modules | ° | Optimum tilt of fix-mounted PV modules facing towards Equator set for maximizing GTI input (© 2025 Solargis)
PVOUT_specific | Specific photovoltaic power output | kWh/kWp | Yearly and monthly average values of photovoltaic electricity (AC) delivered by a PV system and normalized to 1 kWp of installed capacity (© 2025 Solargis)
PVOUT_total | Total photovoltaic power output | kWh, MWh, GWh | Yearly and monthly average values of photovoltaic electricity (AC) delivered by the total installed capacity of a PV system (© 2025 Solargis)
TEMP | Air temperature | °C, °F | Average yearly, monthly and daily air temperature at 2 m above ground. Calculated from outputs of ERA5 model (© 2025 ECMWF, post-processed by Solargis)